## Sheet1
a | b | c
PA-L01-0X | TT-K-36-SLE-1000 | Short Capillary
PA-L01-01 | TT-K-36-SLE-1000 | Short Capillary

## Sensor Info
Sensor No | Wire Type | Sensor Type | Sealing Glue | Distance:Prob To Glass/Metal Bottom | Water Volume/Metal Tube Wall | Oil Volume/Metal Tube OD | Total Length | Test On | Made By | Manufacture Date mm/dd/yyyy | Tested By | Mean Maximum Temperature (°C) | Mean Minimum Temperature (°C) | Standard Deviation Maximum Temperature (°C) | Standard Deviation Minimum Temperature (°C) | Remarks | Replaced Reason
PA-L01-0X | TT-K-36-SLE-1000 | Short Capillary | UV Glue | 4.4 | 20uL | 5uL | 31.3 | P14 | Dr. Chen | 2021-03-10 | KuanRu | 1st Run:91.54 2nd Run:94.47 | 1st Run:59.33 2nd Run:55.91 | 1st Run:0.61 2nd Run:0.58 | 1st Run:1.71 2nd Run:0.85 | Example
PA-L01-01 | TT-K-36-SLE-1000 | Short Capillary | UV Glue | 6.95 | 20uL | 5uL | 33 | P14 | Dr. Chen | 2021-03-10 | Hafiz | 1st Run:93.56 2nd Run:92.53 | 1st Run:57.58 2nd Run:56.63 | 1st Run:0.73 2nd Run:0.58 | 1st Run:1.72 2nd Run:2.24 | Shipment to US on 07-Apr-2021.
PA-L01-02 | TT-K-36-SLE-1000 | Short Capillary | UV Glue | 5.71 | 20uL | 5uL | 33.28 | P14 | Dr. Chen | 2021-03-10 | Hafiz | 1st Run:93.30 2nd Run:93.46 | 1st Run:57.28 2nd Run:57.29 | 1st Run:0.50 2nd Run:0.38 | 1st Run:1.97 2nd Run:2.21 | Liquid Level Dropped.
PA-L01-03 | TT-K-36-SLE-1000 | Short Capillary | UV Glue | 5.64 | 20uL | 5uL | 33.82 | P14 | Dr. Chen | 2021-04-06 | Hafiz | 1st Run:93.52 2nd Run:93.56 | 1st Run:56.53 2nd Run:56.99 | 1st Run:0.45 2nd Run:0.32 | 1st Run:2.94 2nd Run:1.99 | Fast track QC due to urgency